We formulate the short-term wind power forecasting task in a multi-modal setting that integrates historical turbine-level SCADA data and grid-based Numerical Weather Prediction (NWP) forecasts. The input features are decomposed into scalar and vector quantities to explicitly distinguish between geometric-agnostic and geometric variables. Let a wind farm consist of N turbines. For each turbine i at historical time step t∈{1,…,L}, we observe turbine scalar features hit∈RDh (e.g., wind speed magnitude, power output, operational status) and turbine vector features qit∈RDq (primarily the 2D wind vector). At the forecast anchor time t=L, the NWP system issues predictions for future lead times τ=1,…,T. For each τ, it provides a gridded forecast over the farm region, including scalar fields gL+τs∈RH×W×Vs (e.g., temperature, pressure) and vector fields gL+τv∈RH×W×Vv (e.g., zonal and meridional wind components), where H and W denote the spatial grid dimensions, and Vs, Vv are the numbers of scalar and vector variables, respectively. The objective is to predict the hourly wind power output for all N turbines over the next T hours. Formally, we learn a mapping fθ:

yL+1:L+T=fθ{ht,qt}t=1L; {gL+τs,gL+τv}τ=1T,

where yL+1:L+T∈RN×T denotes the predicted power sequence.